## Overview
Preliminary assessment of the photovoltaic electricity production
Project | Quezon City
Geographical coordinates | 14.733114°, 121.069864° (14°43'59", 121°04'12")
Report generated | 16 Jun 2026
Generated by | Global Solar Atlas
Map link | https://globalsolaratlas.info/map?s=14.733114,121.069864,10&pv=medium,356,5,123.5

## Site_info
Project | Quezon City
Location | Fe Street, 5th District, Quezon City, 1118 Metro Manila, Philippines
Geographical coordinates | 14.733114°, 121.069864° (14°43'59", 121°04'12")
Time zone | UTC+08, Asia/Manila [PST]
Elevation | 99 m

## PV_config
PV system configuration
Medium size comercial | Photovoltaic system mounted on a large horizontal roof of a commercial or industrial building. Azimuth and tilt of the PV modules are homogeneous. The modules are fix-mounted on tilted structures, attached to the flat roof and aligned in rows. Thus, during low sun angles, the modules may be partially shaded by preceding rows.
System size | 123.5 | kWp
Tilt of PV panels | 5 | °
Azimuth of PV panels | 356 | °

## Map_data
Map data
Direct normal irradiation | DNI | 1247.2 | kWh/m²
Global horizontal irradiation | GHI | 1704.5 | kWh/m²
Diffuse horizontal irradiation | DIF | 848.3 | kWh/m²
Global tilted irradiation at optimum angle | GTI_opta | 1747.7 | kWh/m²
Air temperature | TEMP | 26.3 | °C
Optimum tilt of PV modules | OPTA | 14 | °
Terrain elevation | ELE | 99 | m

## Monthly_averages
Monthly averages
| PVOUT_specific | PVOUT_total | DNI
| kWh/kWp | kWh | kWh/m²
Jan | 95.1 | 11,746.3 | 109
Feb | 101.2 | 12,503.7 | 119.2
Mar | 127.9 | 15,795.5 | 137.3
Apr | 135.1 | 16,678.9 | 141.8
May | 134.6 | 16,619.0 | 130.2
Jun | 121.2 | 14,966.9 | 106
Jul | 107.8 | 13,315.6 | 79.7
Aug | 103.3 | 12,751.8 | 71.5
Sep | 99.8 | 12,329.5 | 76.6
Oct | 97.2 | 12,010.1 | 89.8
Nov | 90.2 | 11,136.5 | 104.5
Dec | 85.7 | 10,582.4 | 95.2
Yearly | 1299.1 | 160436.2 | 1260.8

## Hourly_profiles
Average hourly profiles
Total photovoltaic power output [Wh]
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
0 - 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 - 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 - 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 - 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 - 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 - 6 | 0 | 0 | 0 | 25 | 717 | 691 | 308 | 0 | 0 | 0 | 0 | 0
6 - 7 | 755 | 1090 | 3922 | 9781 | 13673 | 12515 | 9309 | 7169 | 6994 | 6234 | 4138 | 1325
7 - 8 | 12211 | 15641 | 23285 | 32337 | 33967 | 30595 | 24428 | 22148 | 23355 | 22533 | 18984 | 13631
8 - 9 | 29434 | 35405 | 44210 | 52536 | 52013 | 46075 | 38422 | 35400 | 38520 | 38213 | 35028 | 29286
9 - 10 | 44306 | 51450 | 59709 | 65398 | 63665 | 55995 | 48374 | 45829 | 48950 | 48812 | 47045 | 41786
10 - 11 | 51738 | 58717 | 64771 | 69978 | 68397 | 61016 | 53961 | 51132 | 54518 | 52310 | 52079 | 48123
11 - 12 | 53749 | 60049 | 66150 | 70416 | 69605 | 62210 | 56822 | 54826 | 55393 | 53415 | 52987 | 49423
12 - 13 | 52122 | 59332 | 64086 | 67138 | 67559 | 61581 | 54406 | 54379 | 53442 | 50448 | 49742 | 47041
13 - 14 | 49001 | 55608 | 61005 | 63169 | 60451 | 58492 | 49283 | 48618 | 48534 | 45154 | 44618 | 43565
14 - 15 | 41189 | 48714 | 52964 | 54376 | 47168 | 48167 | 40535 | 40059 | 38393 | 35757 | 35509 | 35062
15 - 16 | 29156 | 36495 | 40695 | 40733 | 33068 | 33546 | 28614 | 28916 | 26413 | 23658 | 22563 | 22790
16 - 17 | 13970 | 20028 | 23025 | 23827 | 19563 | 19945 | 17374 | 17214 | 13895 | 10227 | 8272 | 8907
17 - 18 | 1280 | 4031 | 5710 | 6248 | 6250 | 7787 | 7329 | 5659 | 2576 | 662 | 252 | 428
18 - 19 | 0 | 0 | 0 | 0 | 0 | 283 | 371 | 0 | 0 | 0 | 0 | 0
19 - 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 - 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 - 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 - 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 - 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sum | 378911 | 446560 | 509532 | 555962 | 536096 | 498898 | 429536 | 411349 | 410983 | 387423 | 371217 | 341367
Direct normal irradiation [Wh/m²]
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
0 - 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 - 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 - 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 - 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 - 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 - 6 | 0 | 0 | 0 | 0 | 24 | 22 | 8 | 0 | 0 | 0 | 0 | 0
6 - 7 | 36 | 54 | 123 | 235 | 262 | 216 | 146 | 102 | 114 | 138 | 150 | 44
7 - 8 | 275 | 357 | 390 | 454 | 399 | 324 | 226 | 199 | 230 | 271 | 325 | 261
8 - 9 | 370 | 454 | 497 | 545 | 482 | 377 | 278 | 232 | 287 | 336 | 391 | 337
9 - 10 | 427 | 516 | 539 | 555 | 498 | 385 | 293 | 255 | 303 | 354 | 422 | 379
10 - 11 | 405 | 477 | 470 | 500 | 459 | 360 | 291 | 247 | 290 | 315 | 387 | 360
11 - 12 | 374 | 419 | 436 | 450 | 419 | 338 | 283 | 257 | 277 | 304 | 361 | 335
12 - 13 | 352 | 402 | 401 | 413 | 410 | 342 | 260 | 258 | 266 | 281 | 335 | 316
13 - 14 | 348 | 396 | 402 | 408 | 377 | 351 | 247 | 233 | 255 | 275 | 324 | 315
14 - 15 | 340 | 388 | 378 | 384 | 311 | 304 | 202 | 196 | 209 | 245 | 306 | 286
15 - 16 | 308 | 363 | 357 | 349 | 252 | 231 | 147 | 154 | 166 | 210 | 273 | 245
16 - 17 | 243 | 306 | 294 | 292 | 198 | 168 | 105 | 114 | 124 | 153 | 198 | 178
17 - 18 | 38 | 126 | 142 | 140 | 109 | 110 | 77 | 58 | 31 | 18 | 13 | 15
18 - 19 | 0 | 0 | 0 | 0 | 0 | 6 | 6 | 0 | 0 | 0 | 0 | 0
19 - 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 - 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 - 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 - 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 - 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sum | 3516 | 4258 | 4429 | 4725 | 4200 | 3534 | 2569 | 2305 | 2552 | 2900 | 3485 | 3071

## Glossary
Acronyms and glossary
Acronym | Full name | Unit | Type of use
DIF | Diffuse horizontal irradiation | kWh/m², MJ/m² | Average yearly, monthly or daily sum of diffuse horizontal irradiation (© 2025 Solargis)
DNI | Direct normal irradiation | kWh/m², MJ/m² | Average yearly, monthly or daily sum of direct normal irradiation (© 2025 Solargis)
ELE | Terrain elevation | m, ft | Elevation of terrain surface above/below sea level, processed and integrated from SRTM-3 data and related data products (SRTM v4.1 © 2004 - 2025, CGIAR-CSI)
GHI | Global horizontal irradiation | kWh/m², MJ/m² | Average annual, monthly or daily sum of global horizontal irradiation (© 2025 Solargis)
GTI | Global tilted irradiation | kWh/m², MJ/m² | Average annual, monthly or daily sum of global tilted irradiation (© 2025 Solargis)
GTI opta | Global tilted irradiation at optimum angle | kWh/m², MJ/m² | Average annual, monthly or daily sum of global tilted irradiation for PV modules fix-mounted at optimum angle (© 2025 Solargis)
OPTA | Optimum tilt of PV modules | ° | Optimum tilt of fix-mounted PV modules facing towards Equator set for maximizing GTI input (© 2025 Solargis)
PVOUT_specific | Specific photovoltaic power output | kWh/kWp | Yearly and monthly average values of photovoltaic electricity (AC) delivered by a PV system and normalized to 1 kWp of installed capacity (© 2025 Solargis)
PVOUT_total | Total photovoltaic power output | kWh, MWh, GWh | Yearly and monthly average values of photovoltaic electricity (AC) delivered by the total installed capacity of a PV system (© 2025 Solargis)
TEMP | Air temperature | °C, °F | Average yearly, monthly and daily air temperature at 2 m above ground. Calculated from outputs of ERA5 model (© 2025 ECMWF, post-processed by Solargis)