## 成本&报价
汇率 | 8.76 | 1元=8.76比索 | 20260320汇率
序号 | 设备名称 | 数量 | 单价 Unit Price | 单位 | 总价 | 备注 | 利润率 | 组件数 | 组串数
1 | 逆变器 50k 220 | 2 | 26328.0822 | 台 | 52656.1644 |  | 0.92 | 16 | 6
2 | 光伏组件 | 168 | 529.2 | 片 | 88905.6 |  | 0.92 | 17 | 0
3 | 光伏支架 | 168 | 83.853 | 套 | 14087.304 |  | 0.7 | 18 | 4
4 | MC4 | 50 | 5.5 | 套 | 275 |  | 0.7
5 | 组串RSD连接器,PEFS-EL40H-20-P2,接10串 | 1 | 2951 | 套 | 2951 |  | 0.7
6 | RSD 紧急旋钮 | 1 | 56 | 个 | 56 |  | 0.7
7 | 直流线缆 | 2300 | 4.6 | 米 | 10580 |  | 0.7
8 | 交流电缆 | 100 | 500 | 米 | 50000 |  | 0.7
9 | 防逆流表&互感器 | 1 | 1510 | 台 | 1510 |  | 0.7
10 | SmartControl 箱 | 1 | 3000 | 个 | 3000 |  | 0.7
11 | AC 配电箱 | 1 | 2510 | 个 | 2510 |  | 0.7
12 | DC 配电箱 | 1 | 3960 | 个 | 3960 |  | 0.7
13 | 施工费 | 105.84 | 400 |  | 42336 |  | 0.7
14 | 报关、运输海运费 | 0.5 | 8260 |  | 4130 |  | 0.7
15 | 系统调试人员费用 | 2.4 | 3000 | 人天 | 7200 |  | 1
16 | 电网接入费用 | 0 |  |  | 0
17 | 其他费用 | 0 |  |  | 0
18
1 | 设备成本 | 230491.0684
2 | 建设成本&耗材 | 42400
3 | 报关、物流费 | 4200
4 | 系统调试人员费用 | 7200
5 | 电网接入费用
| 总费用（成本） | 284291.0684
ID. | Description | Quantity | Unit Price | Unit | Total Price
1 | Solar Inverter | 2 | 230634 | Set | 461268
2 | PV Modules | 168 | 4635.792 | pcs | 778813.056
3 | Mounting Structure | 168 | 734.5523 | pcs | 123404.783
4 | MC4 Connectors | 50 | 48.18 | Pair | 2409
5 | Rapid Shutdown Device (RSD) | 1 | 25850.76 | pcs | 25850.76
6 | RSD emergency stop button | 1 | 490.56 | Set | 490.56
7 | DC Cables | 2300 | 40.296 | m | 92680.8
8 | AC Cables | 100 | 4380 | m | 438000
9 | Anti-Reflux Smart Meter & Current Transformer （CT) | 1 | 13227.6 | Pair | 13227.6
10 | SmartControl Box | 1 | 26280 | Set | 26280
11 | AC Distribution Box | 1 | 21987.6 | Set | 21987.6
12 | DC Distribution Box | 1 | 34689.6 | Set | 34689.6
13 | On-site Construction | 1 | 371424 | Lot | 371424
14 | Shipping & Handling | 1 | 36792 | Lot | 36792
15 | System commissioning cost | 1 | 63072 | Lot | 63072
16 | Grid | 0 |  |  | 0
17 | other | 0 |  |  | 0
18
成本
1 | Equipment Cost | 2019101.759 |  |  | 3.1514 | 元/Wp
2 | Construction & Consumables Cost | 371424 |  |  | 0.57971 | 元/Wp
3 | Logistics Cost / Freight Cost | 36792
4 | System commissioning cost | 63072
5 | Grid Connection Cost | 0
| Total Cost | 2490389.759
报价：逆变器加5%管理费，光伏组件20%毛利，其他按20%毛利，报关运费原价不增加
ID. | Description | Quantity | Unit Price | Unit | Total Price
1 | Solar Inverter | 2 | 250690 | Set | 501380
2 | PV Modules | 168 | 5039 | pcs | 846552
3 | Mounting Structure | 168 | 1050 | pcs | 176400
4 | MC4 Connectors | 50 | 69 | Pair | 3450
5 | Rapid Shutdown Device (RSD) | 1 | 36930 | pcs | 36930
6 | RSD emergency stop button | 1 | 701 | Set | 701
7 | DC Cables | 2300 | 58 | m | 133400
8 | AC Cables | 100 | 6258 | m | 625800
9 | Anti-Reflux Smart Meter & Current Transformer （CT) | 1 | 18897 | Pair | 18897
10 | SmartControl Box | 1 | 37543 | Set | 37543
11 | AC Distribution Box | 1 | 31411 | Set | 31411
12 | DC Distribution Box | 1 | 49557 | Set | 49557
13 | On-site Construction | 1 | 530606 | Lot | 530606
14 | Shipping & Handling | 1 | 52560 | Lot | 52560
15 | System commissioning cost | 1 | 63072 | Lot | 63072
16 | Grid | 0 |  |  | 0
17 | other | 0 |  |  | 0
0
1 | Equipment Cost | 2462021 |  |  | 3.8426 | 元/Wp
2 | Construction & Consumables Cost | 530606 |  |  | 0.82815 | 元/Wp
3 | Logistics Cost / Freight Cost | 52560
4 | System commissioning cost | 63072
5 | Grid Connection Cost
| Total Cost | 3108259 | 29.3675

## 收益
汇率 | 8.76
| total piso | Generation Charge | VAT RATES | Transmission Charge perkw | VAT RATES | System Loss Charge | VAT RATES | Distribution Charge | Distribution Charge perkw | Supply Charge4 | Metering Charge | Metering percut | Current RPT Charge | UC-ME for 15 (NPC-SPUG) | UC-ME for (RED-CI) | UC-EC1 | UC-SD | Fit-All (Renewable) | VAT RATES | 需量 | 电量
jan | 9.1849 | 6.8358 | 11.22% | 293.28 | 10.39% | 0.636 | 11.12% | 0.1339 | 232.2 | 827.54 | 0.335 | 831.72 | 0.0039 | 0.1805 | 0.0017 | 0 | 0.0428 | 0.0838 | 12%
Feb | 9.6751 | 7.2203 | 11.26% | 285.62 | 10.44% | 0.6707 | 11.17% | 0.1339 | 232.2 | 827.54 | 0.335 | 831.72 | 0.0054 | 0.1949 | 0.0044 | 0 | 0.0428 | 0.0838 | 12%
Mar | 9.5471 | 7.0517 | 11.53% | 325.14 | 10.32% | 0.6704 | 11.39% | 0.1339 | 232.2 | 827.54 | 0.335 | 831.72 | 0.0054 | 0.1949 | 0.0044 | 0 | 0.0428 | 0.1189 | 12%
Apr | 10.3984 | 7.7795 | 11.13% | 370.13 | 10.82% | 0.7358 | 11.09% | 0.1339 | 232.2 | 827.54 | 0.335 | 831.72 | 0.0055 | 0.1949 | 0.0044 | 0 | 0.0428 | 0.1189 | 12%
May | 9.9851 | 7.4651 | 11.22% | 273.68 | 10.76% | 0.6715 | 11.18% | 0.1339 | 232.2 | 827.54 | 0.335 | 831.72 | 0.0057 | 0.1949 | 0.0044 | 0 | 0.0428 | 0.1189 | 12%
Jun | 9.8563 | 7.3552 | 11.43% | 276.79 | 10.8% | 0.6506 | 11.37% | 0.1339 | 232.2 | 827.54 | 0.335 | 831.72 | 0.0057 | 0.1949 | 0.0044 | 0 | 0.0428 | 0.1189 | 12%
Jul | 10.2617 | 7.6959 | 11.47% | 295.5 | 10.81% | 0.6706 | 11.41% | 0.1339 | 232.2 | 827.54 | 0.335 | 831.72 | 0.0058 | 0.1949 | 0.0044 | 0 | 0.0428 | 0.1189 | 12%
Aug | 10.7416 | 8.0708 | 11.72% | 336.63 | 10.98% | 0.7066 | 11.65% | 0.1339 | 232.2 | 827.54 | 0.335 | 831.72 | 0.0058 | 0.1949 | 0.0044 | 0 | 0.0428 | 0.1189 | 12%
Sep | 10.4277 | 7.8105 | 11.7% | 387.72 | 11.17% | 0.6873 | 11.65% | 0.1339 | 232.2 | 827.54 | 0.335 | 831.72 | 0.0058 | 0.1949 | 0.0044 | 0 | 0.0428 | 0.1189 | 12%
Oct | 10.6544 | 8.008 | 11.63% | 373.36 | 11.2% | 0.6981 | 11.59% | 0.1339 | 232.2 | 827.54 | 0.335 | 831.72 | 0.0059 | 0.1949 | 0.0044 | 0 | 0.0428 | 0.1189 | 12%
Nov | 10.6447 | 7.9 | 11.39% | 439.67 | 11.24% | 0.7245 | 11.38% | 0.1339 | 232.2 | 827.54 | 0.335 | 831.72 | 0.0059 | 0.1949 | 0.0044 | 0.0025 | 0.0428 | 0.2073 | 12%
Dec | 10.4588 | 7.7642 | 11.36% | 373.76 | 10.7% | 0.6962 | 11.28% | 0.1339 | 232.2 | 827.54 | 0.335 | 831.72 | 0.0059 | 0.1949 | 0.0044 | 0.0025 | 0.0428 | 0.2073 | 12%
avg | 10.153
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
0 - 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 - 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 - 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 - 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 - 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 - 6 | 0 | 0 | 0 | 0 | 435.6 | 422.4 | 208.8 | 0 | 0 | 0 | 0 | 0
6 - 7 | 790.8 | 1087.2 | 3283.2 | 7155.6 | 9340.8 | 8382 | 6572.4 | 5242.8 | 5742 | 5895.6 | 4495.2 | 1381.2
7 - 8 | 13065.6 | 15160.8 | 20172 | 25394.4 | 25934.4 | 22956 | 19142.4 | 17847.6 | 20140.8 | 21038.4 | 19516.8 | 15045.6
8 - 9 | 29450.4 | 33339.6 | 39100.8 | 42448.8 | 41641.2 | 36430.8 | 31982.4 | 30135.6 | 34195.2 | 35582.4 | 34366.8 | 30412.8
9 - 10 | 44073.6 | 48727.2 | 53347.2 | 54668.4 | 52918.8 | 47004 | 41925.6 | 39932.4 | 43678.8 | 46634.4 | 45748.8 | 42806.4
10 - 11 | 53386.8 | 57891.6 | 60762 | 62203.2 | 59221.2 | 52944 | 47805.6 | 46603.2 | 49910.4 | 52273.2 | 52454.4 | 50238
11 - 12 | 56154 | 61248 | 64058.4 | 64753.2 | 61335.6 | 54907.2 | 50206.8 | 48448.8 | 51873.6 | 53080.8 | 53450.4 | 51606
12 - 13 | 53570.4 | 60374.4 | 63854.4 | 64092 | 60430.8 | 54315.6 | 49957.2 | 46890 | 49665.6 | 50379.6 | 50979.6 | 48405.6
13 - 14 | 50263.2 | 56257.2 | 59952 | 59965.2 | 55508.4 | 50378.4 | 44529.6 | 42846 | 43988.4 | 44208 | 46048.8 | 44630.4
14 - 15 | 42516 | 50041.2 | 52269.6 | 50972.4 | 44996.4 | 40732.8 | 35239.2 | 34322.4 | 34069.2 | 34971.6 | 36750 | 36564
15 - 16 | 30382.8 | 36951.6 | 39279.6 | 37845.6 | 30412.8 | 27897.6 | 23827.2 | 23826 | 22930.8 | 23072.4 | 23832 | 24456
16 - 17 | 14967.6 | 20571.6 | 22564.8 | 21085.2 | 16300.8 | 15682.8 | 13551.6 | 13762.8 | 11340 | 10014 | 9151.2 | 10105.2
17 - 18 | 1495.2 | 4483.2 | 5510.4 | 5302.8 | 4772.4 | 5589.6 | 5505.6 | 4483.2 | 2365.2 | 692.4 | 336 | 535.2
18 - 19 | 0 | 0 | 0 | 0 | 28.8 | 246 | 309.6 | 32.4 | 0 | 0 | 0 | 0
19 - 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 - 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 - 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 - 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 - 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sum | 390116.4 | 446133.6 | 484154.4 | 495886.8 | 463278 | 417889.2 | 370764 | 354373.2 | 369900 | 377842.8 | 377130 | 356186.4
工作日天数 | 18 | 18 | 20 | 18 | 20 | 18 | 18 | 18 | 18 | 18 | 18 | 18
| 7022.0952 | 8030.4048 | 9683.088 | 8925.9624 | 9265.56 | 7522.0056 | 6673.752 | 6378.7176 | 6658.2 | 6801.1704 | 6788.34 | 6411.3552
假期天数 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
自投类
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
月发电量 | 7022.0952 | 8030.4048 | 9683.088 | 8925.9624 | 9265.56 | 7522.0056 | 6673.752 | 6378.7176 | 6658.2 | 6801.1704 | 6788.34 | 6411.3552
电费单月用电量 | 5760 | 20280 | 21600 | 21960 | 21720 | 19560 | 25440 | 14640 | 25440 | 22800 | 21000 | 26880
月收益（PHP）（取小） | 91287.2376 | 104395.2624 | 125880.144 | 116037.5112 | 120452.28 | 97786.0728 | 86758.776 | 82923.3288 | 86556.6 | 88415.2152 | 88248.42 | 83347.6176
总投资（PHP） | Jan: 3108259
首年总收益（PHP） | Jan: 1054879.619
收益折扣 | Jan: 0.9

## IRR(电费折让30%收费20年）
Lease Period | Investment/Bill Income | Cashflow | IRR PA | Pay Back Period |  | Discount | Pay Back Period | Fist year cash | IRR PA | Total Cash Inflow
2026-12-01 | 4067816 | -4067816 | 24.93% | 3.8562 | 0% | 1 | 3.8562 | 1054.8796 | 24.93% | 20005406.5806
2027-12-01 | 1054879.619 | 1054879.619 | 98% | 首年衰减率 | 20% | 0.8 | 4.8202 | 843.9037 | 19.54% | 16004325.4645
2028-12-01 | Discount 30% | 1033782.0267 | 0.4% | 组件年衰减率 | 25% | 0.75 | 5.1416 | 791.1597 | 18.16% | 15004055.1854
2029-12-01 | 100% | 1029646.8986 |  |  | 30% | 0.7 | 5.5088 | 738.4157 | 16.76% | 14003784.9064
2030-12-01 |  | 1025528.311 |  |  | 35% | 0.65 | 5.9326 | 685.6718 | 15.34% | 13003514.6274
2031-12-01 |  | 1021426.1977 |  |  | 40% | 0.6 | 6.427 | 632.9278 | 13.89% | 12003244.3484
2032-12-01 |  | 1017340.4929 |  |  | 45% | 0.55 | 7.0113 | 580.1838 | 12.41% | 11002974.0693
2033-12-01 |  | 1013271.131 |  |  | 50% | 0.5 | 7.7124 | 527.4398 | 10.89% | 10002703.7903
2034-12-01 |  | 1009218.0464
2035-12-01 |  | 1005181.1742
2036-12-01 |  | 1001160.4495
2037-12-01 |  | 997155.8077
2038-12-01 |  | 993167.1845
2039-12-01 |  | 989194.5158
2040-12-01 |  | 985237.7377
2041-12-01 |  | 981296.7868
2042-12-01 |  | 977371.5996
2043-12-01 |  | 973462.1132
2044-12-01 |  | 969568.2648
2045-12-01 |  | 965689.9917
2046-12-01 |  | 961827.2317
2046-12-01 | Residual | 1
| 1 | 0
| Total Cash Inflow | 20005406.5806 | 180048659.2253
| Net Cashflow | 15937590.5806
Lease Period | Investment/Bill Income | Cashflow | IRR PA | Pay Back Period
2026-12-01 | 4067816 | -4067816 | 19.54% | 4.8202
2027-12-01 | 1054879.619 | 843903.6952 | 98% | 首年衰减率
2028-12-01 | Discount 30% | 827025.6213 | 0.4% | 组件年衰减率
2029-12-01 | 80% | 823717.5188
2030-12-01 |  | 820422.6488
2031-12-01 |  | 817140.9582
2032-12-01 |  | 813872.3943
2033-12-01 |  | 810616.9048
2034-12-01 |  | 807374.4371
2035-12-01 |  | 804144.9394
2036-12-01 |  | 800928.3596
2037-12-01 |  | 797724.6462
2038-12-01 |  | 794533.7476
2039-12-01 |  | 791355.6126
2040-12-01 |  | 788190.1902
2041-12-01 |  | 785037.4294
2042-12-01 |  | 781897.2797
2043-12-01 |  | 778769.6906
2044-12-01 |  | 775654.6118
2045-12-01 |  | 772551.9934
2046-12-01 |  | 769461.7854
2046-12-01 | Residual | 1
| 1 | 0
| Total Cash Inflow | 16004325.4645 | 144038929.1802
| Net Cashflow | 11936509.4645
Lease Period | Investment/Bill Income | Cashflow | IRR PA | Pay Back Period
2026-12-01 | 4067816 | -4067816 | 18.16% | 5.1416
2027-12-01 | 1054879.619 | 791159.7143 | 98% | 首年衰减率
2028-12-01 | Discount 30% | 775336.52 | 0.4% | 组件年衰减率
2029-12-01 | 75% | 772235.1739
2030-12-01 |  | 769146.2332
2031-12-01 |  | 766069.6483
2032-12-01 |  | 763005.3697
2033-12-01 |  | 759953.3482
2034-12-01 |  | 756913.5348
2035-12-01 |  | 753885.8807
2036-12-01 |  | 750870.3372
2037-12-01 |  | 747866.8558
2038-12-01 |  | 744875.3884
2039-12-01 |  | 741895.8868
2040-12-01 |  | 738928.3033
2041-12-01 |  | 735972.5901
2042-12-01 |  | 733028.6997
2043-12-01 |  | 730096.5849
2044-12-01 |  | 727176.1986
2045-12-01 |  | 724267.4938
2046-12-01 |  | 721370.4238
2046-12-01 | Residual | 1
| 1 | 0
| Total Cash Inflow | 15004055.1854 | 135036496.669
| Net Cashflow | 10936239.1854
Lease Period | Investment/Bill Income | Cashflow | IRR PA | Pay Back Period
2026-12-01 | 4067816 | -4067816 | 16.76% | 5.5088
2027-12-01 | 1054879.619 | 738415.7333 | 98% | 首年衰减率
2028-12-01 | Discount 30% | 723647.4187 | 0.4% | 组件年衰减率
2029-12-01 | 70% | 720752.829
2030-12-01 |  | 717869.8177
2031-12-01 |  | 714998.3384
2032-12-01 |  | 712138.345
2033-12-01 |  | 709289.7917
2034-12-01 |  | 706452.6325
2035-12-01 |  | 703626.822
2036-12-01 |  | 700812.3147
2037-12-01 |  | 698009.0654
2038-12-01 |  | 695217.0292
2039-12-01 |  | 692436.161
2040-12-01 |  | 689666.4164
2041-12-01 |  | 686907.7507
2042-12-01 |  | 684160.1197
2043-12-01 |  | 681423.4793
2044-12-01 |  | 678697.7853
2045-12-01 |  | 675982.9942
2046-12-01 |  | 673279.0622
2046-12-01 | Residual | 1
| 1 | 0
| Total Cash Inflow | 14003784.9064 | 126034064.1577
| Net Cashflow | 9935968.9064
Lease Period | Investment/Bill Income | Cashflow | IRR PA | Pay Back Period
2026-12-01 | 4067816 | -4067816 | 15.34% | 5.9326
2027-12-01 | 1054879.619 | 685671.7524 | 98% | 首年衰减率
2028-12-01 | Discount 30% | 671958.3173 | 0.4% | 组件年衰减率
2029-12-01 | 65% | 669270.4841
2030-12-01 |  | 666593.4021
2031-12-01 |  | 663927.0285
2032-12-01 |  | 661271.3204
2033-12-01 |  | 658626.2351
2034-12-01 |  | 655991.7302
2035-12-01 |  | 653367.7633
2036-12-01 |  | 650754.2922
2037-12-01 |  | 648151.275
2038-12-01 |  | 645558.6699
2039-12-01 |  | 642976.4353
2040-12-01 |  | 640404.5295
2041-12-01 |  | 637842.9114
2042-12-01 |  | 635291.5398
2043-12-01 |  | 632750.3736
2044-12-01 |  | 630219.3721
2045-12-01 |  | 627698.4946
2046-12-01 |  | 625187.7006
2046-12-01 | Residual | 1
| 1 | 0
| Total Cash Inflow | 13003514.6274 | 117031631.6464
| Net Cashflow | 8935698.6274
Lease Period | Investment/Bill Income | Cashflow | IRR PA | Pay Back Period
2026-12-01 | 4067816 | -4067816 | 13.89% | 6.427
2027-12-01 | 1054879.619 | 632927.7714 | 98% | 首年衰减率
2028-12-01 | Discount 30% | 620269.216 | 0.4% | 组件年衰减率
2029-12-01 | 60% | 617788.1391
2030-12-01 |  | 615316.9866
2031-12-01 |  | 612855.7186
2032-12-01 |  | 610404.2958
2033-12-01 |  | 607962.6786
2034-12-01 |  | 605530.8279
2035-12-01 |  | 603108.7045
2036-12-01 |  | 600696.2697
2037-12-01 |  | 598293.4846
2038-12-01 |  | 595900.3107
2039-12-01 |  | 593516.7095
2040-12-01 |  | 591142.6426
2041-12-01 |  | 588778.0721
2042-12-01 |  | 586422.9598
2043-12-01 |  | 584077.2679
2044-12-01 |  | 581740.9589
2045-12-01 |  | 579413.995
2046-12-01 |  | 577096.339
2046-12-01 | Residual | 1
| 1 | 0
| Total Cash Inflow | 12003244.3484 | 108029199.1352
| Net Cashflow | 7935428.3484
Lease Period | Investment/Bill Income | Cashflow | IRR PA | Pay Back Period
2026-12-01 | 4067816 | -4067816 | 12.41% | 7.0113
2027-12-01 | 1054879.619 | 580183.7905 | 98% | 首年衰减率
2028-12-01 | Discount 30% | 568580.1147 | 0.4% | 组件年衰减率
2029-12-01 | 55% | 566305.7942
2030-12-01 |  | 564040.571
2031-12-01 |  | 561784.4087
2032-12-01 |  | 559537.2711
2033-12-01 |  | 557299.122
2034-12-01 |  | 555069.9255
2035-12-01 |  | 552849.6458
2036-12-01 |  | 550638.2473
2037-12-01 |  | 548435.6943
2038-12-01 |  | 546241.9515
2039-12-01 |  | 544056.9837
2040-12-01 |  | 541880.7557
2041-12-01 |  | 539713.2327
2042-12-01 |  | 537554.3798
2043-12-01 |  | 535404.1623
2044-12-01 |  | 533262.5456
2045-12-01 |  | 531129.4954
2046-12-01 |  | 529004.9775
2046-12-01 | Residual | 1
| 1 | 0
| Total Cash Inflow | 11002974.0693 | 99026766.6239
| Net Cashflow | 6935158.0693
Lease Period | Investment/Bill Income | Cashflow | IRR PA | Pay Back Period
2026-12-01 | 4067816 | -4067816 | 10.89% | 7.7124
2027-12-01 | 1054879.619 | 527439.8095 | 98% | 首年衰减率
2028-12-01 | Discount 30% | 516891.0133 | 0.4% | 组件年衰减率
2029-12-01 | 50% | 514823.4493
2030-12-01 |  | 512764.1555
2031-12-01 |  | 510713.0989
2032-12-01 |  | 508670.2465
2033-12-01 |  | 506635.5655
2034-12-01 |  | 504609.0232
2035-12-01 |  | 502590.5871
2036-12-01 |  | 500580.2248
2037-12-01 |  | 498577.9039
2038-12-01 |  | 496583.5923
2039-12-01 |  | 494597.2579
2040-12-01 |  | 492618.8689
2041-12-01 |  | 490648.3934
2042-12-01 |  | 488685.7998
2043-12-01 |  | 486731.0566
2044-12-01 |  | 484784.1324
2045-12-01 |  | 482844.9959
2046-12-01 |  | 480913.6159
2046-12-01 | Residual | 1
| 1 | 0
| Total Cash Inflow | 10002703.7903 | 90024334.1126
| Net Cashflow | 5934887.7903

## IRR(7年后1元转让给业主）
Lease Period | Investment/Electricty Bill Income | Cashflow | IRR PA | IRR PA | Pay Back Period | year | IRR PA | Pay Back Period | Total Cash Inflow |  | Capital Expenditure | Cumulative Financial Benefit
2026-12-01 | 3108259 | -3108259 | 30.11% | 186.5% | 2.9466 | 9 | 30.11% | 2.9466 | 9210274.8975 | 0 | 3108.259 | 0
2027-12-01 | 1054879.619 | 1054879.619 | 98% | 首年衰减 |  | 8 | 28.86% | 2.9466 | 8205093.7232 | 1 | 3108.259 | 1054.8796 | 1054.8796
2028-12-01 |  | 1033782.0267 | 0.4% | 组件年衰减率 |  | 7 | 27.03% | 2.9466 | 7195875.6768 | 2 | 3108.259 | 2088.6616 | 1033.782
2029-12-01 |  | 1029646.8986 |  |  |  | 6 | 24.23% | 2.9466 | 6182604.5458 | 3 | 3108.259 | 3118.3085 | 1029.6469
2030-12-01 |  | 1025528.311 |  |  |  | 5 | 19.85% | 2.9466 | 5165264.0529 | 4 | 3108.259 | 4143.8369 | 1025.5283
2031-12-01 |  | 1021426.1977 |  |  |  | 4 | 12.65% | 2.9466 | 4143837.8552 | 5 | 3108.259 | 5165.2631 | 1021.4262
2032-12-01 |  | 1017340.4929 | [7 empty] | 6 | 3108.259 | 6182.6035 | 1017.3405
2033-12-01 |  | 1013271.131 | [7 empty] | 7 | 3108.259 | 7195.8747 | 1013.2711
2033-12-02 |  | 1009218.0464 | [7 empty] | 8 | 3108.259 | 8205.0927 | 1009.218
2033-12-03 |  | 1005181.1742 | [9 empty] | 9210.2739 | 1005.1812
2033-12-04 | Residual | 1
2033-12-01 | 1 | 0
| Total Cash Inflow | 9210274.8975
| Net Cashflow | 6102015.8975
82892474.0772
Lease Period | Investment/Electricty Bill Income | Cashflow | IRR PA | IRR PA | Pay Back Period
2026-12-01 | 3108259 | -3108259 | 28.86% | 175.8% | 2.9466
2027-12-01 | 1054879.619 | 1054879.619 | 98% | 首年衰减
2028-12-01 |  | 1033782.0267 | 0.4% | 组件年衰减率
2029-12-01 |  | 1029646.8986
2030-12-01 |  | 1025528.311
2031-12-01 |  | 1021426.1977
2032-12-01 |  | 1017340.4929
2033-12-01 |  | 1013271.131
2033-12-02 |  | 1009218.0464
2033-12-03 |  | 1
2033-12-04 | Residual | 0
2033-12-01 | 1 | 0
| Total Cash Inflow | 8205093.7232
| Net Cashflow | 5096834.7232
73845843.5091
Lease Period | Investment/Electricty Bill Income | Cashflow | IRR PA | IRR PA | Pay Back Period
2026-12-01 | 3108259 | -3108259 | 27.03% | 160.4% | 2.9466
2027-12-01 | 1054879.619 | 1054879.619 | 98% | 首年衰减
2028-12-01 |  | 1033782.0267 | 0.4% | 组件年衰减率
2029-12-01 |  | 1029646.8986
2030-12-01 |  | 1025528.311
2031-12-01 |  | 1021426.1977
2032-12-01 |  | 1017340.4929
2033-12-01 |  | 1013271.131
2033-12-02 |  | 1
2033-12-03 |  | 0
2033-12-04 | Residual | 0
2033-12-01 | 1 | 0
| Total Cash Inflow | 7195875.6768
| Net Cashflow | 4087616.6768
64762881.0912
Lease Period | Investment/Electricty Bill Income | Cashflow | IRR PA | IRR PA | Pay Back Period
2026-12-01 | 3108259 | -3108259 | 24.23% | 138.2% | 2.9466
2027-12-01 | 1054879.619 | 1054879.619 | 98% | 首年衰减
2028-12-01 |  | 1033782.0267 | 0.4% | 组件年衰减率
2029-12-01 |  | 1029646.8986
2030-12-01 |  | 1025528.311
2031-12-01 |  | 1021426.1977
2032-12-01 |  | 1017340.4929
2033-12-01 |  | 1
2033-12-02 |  | 0
2033-12-03 |  | 0
2033-12-04 | Residual | 0
2033-12-01 | 1 | 0
| Total Cash Inflow | 6182604.5458
| Net Cashflow | 3074345.5458
55643440.9126
Lease Period | Investment/Electricty Bill Income | Cashflow | IRR PA | IRR PA | Pay Back Period
2026-12-01 | 3108259 | -3108259 | 19.85% | 106.3% | 2.9466
2027-12-01 | 1054879.619 | 1054879.619 | 98% | 首年衰减
2028-12-01 |  | 1033782.0267 | 0.4% | 组件年衰减率
2029-12-01 |  | 1029646.8986
2030-12-01 |  | 1025528.311
2031-12-01 |  | 1021426.1977
2032-12-01 |  | 1
2033-12-01 |  | 0
2033-12-02 |  | 0
2033-12-03 |  | 0
2033-12-04 | Residual | 0
2033-12-01 | 1 | 0
| Total Cash Inflow | 5165264.0529
| Net Cashflow | 2057005.0529
46487376.4763
Lease Period | Investment/Electricty Bill Income | Cashflow | IRR PA | IRR PA | Pay Back Period
2026-12-01 | 3108259 | -3108259 | 12.65% | 61.03% | 2.9466
2027-12-01 | 1054879.619 | 1054879.619 | 98% | 首年衰减
2028-12-01 |  | 1033782.0267 | 0.4% | 组件年衰减率
2029-12-01 |  | 1029646.8986
2030-12-01 |  | 1025528.311
2031-12-01 |  | 1
2032-12-01 |  | 0
2033-12-01 |  | 0
2033-12-02 |  | 0
2033-12-03 |  | 0
2033-12-04 | Residual | 0
2033-12-01 | 1 | 0
| Total Cash Inflow | 4143837.8552
| Net Cashflow | 1035578.8552
37294540.6969

## PPT
| 中文 | 字段 | 数字 | Sub BatchReplaceAll()
1 | 装机容量 | {{capacity}} | 105.84 | Dim sld As Slide
2 | 等效小时数 | {{flh}} | 1408 | Dim shp As Shape
3 | 逆变器数量 | {{inv_count}} | 2
4 | 组件数量 | {{module_count}} | 168 | For Each sld In ActivePresentation.Slides
5 | 总投资 | {{total_investment}} | 4067816 | For Each shp In sld.Shapes
6 | 首年收益 | {{year1_revenue}} | 1054879.619 | If shp.HasTextFrame And shp.TextFrame.HasText Then
7 | 回收周期 | {{payback_period}} | 3.8562 | With shp.TextFrame.TextRange
8 | 20年总收益 | {{rev_20y}} | 10002703.7903 | .Replace "{{capacity}}", "105.84" | .Replace " | {{capacity}} | ", " | 105.84 | "
9 | 20年IRR | {{irr_20y}} | 10.89% | .Replace "{{flh}}", "1408" | .Replace " | {{flh}} | ", " | 1408 | "
10 | 5年卖电站总收益 | {{rev_5y}} | 5165264.0529 | .Replace "{{inv_count}}", "2" | .Replace " | {{inv_count}} | ", " | 2 | "
11 | 5年卖电站IRR | {{irr_5y}} | 19.85% | .Replace "{{module_count}}", "168" | .Replace " | {{module_count}} | ", " | 168 | "
12 | 逆变器功率 | {{inv_power}} | 50 | .Replace "{{total_investment}}", "4,067,816" | .Replace " | {{total_investment}} | ", " | 4,067,816 | "
13 | 减碳量 | {{carbon_reduction}} | 80 | .Replace "{{year1_revenue}}", "1,054,880" | .Replace " | {{year1_revenue}} | ", " | 1,054,880 | "
14 | 业主名 | {{pro_own}} | FATIMA UNIVERSITY,LAGUNA | .Replace "{{payback_period}}", "3.86" | .Replace " | {{payback_period}} | ", " | 3.86 | "
15 | 用户地址 | {{adr}} | Lot 2-B Manila S Rd, City of Santa Rosa, 4026 Laguna | .Replace "{{rev_20y}}", "10,002,704" | .Replace " | {{rev_20y}} | ", " | 10,002,704 | "
16 | 用户经纬度 | {{geographic}} | 14°18'17.09"N 121°06'13.43"E | .Replace "{{irr_20y}}", "10.89%" | .Replace " | {{irr_20y}} | ", " | 10.89% | "
17 | GHI | {{ghi}} | 1932 | .Replace "{{rev_5y}}", "5,165,264" | .Replace " | {{rev_5y}} | ", " | 5,165,264 | "
18 | 面积 | {{roof_area}} | 1014.45 | .Replace "{{irr_5y}}", "19.85%" | .Replace " | {{irr_5y}} | ", " | 19.85% | "
19 | 汇率 | {{Exchg}} | 8.79 | .Replace "{{inv_power}}", "50" | .Replace " | {{inv_power}} | ", " | 50 | "
20 | 汇率日期 | {{Exchg_date}} | April 2 2006 | .Replace "{{carbon_reduction}}", "80" | .Replace " | {{carbon_reduction}} | ", " | 80 | "
21 | 逆变器的单位 | {{set}} | sets | .Replace "{{pro_own}}", "FATIMA UNIVERSITY,LAGUNA" | .Replace " | {{pro_own}} | ", " | FATIMA UNIVERSITY,LAGUNA | "
22 |  |  |  | .Replace "{{adr}}", "Lot 2-B Manila S Rd, City of Santa Rosa, 4026 Laguna" | .Replace " | {{adr}} | ", " | Lot 2-B Manila S Rd, City of Santa Rosa, 4026 Laguna | "
| global截图 | global |  | .Replace "{{geographic}}", Chr(34) & "14°18'17.09""N 121°06'13.43""E"& Chr(34) | .Replace " | {{geographic}} | ", Chr(34) & | "14°18'17.09""N 121°06'13.43""E" | & Chr(34)
| 航拍或卫星图 | aerial |  | .Replace "{{ghi}}", "1932.0" | .Replace " | {{ghi}} | ", " | 1932.0 | "
| opensloar 组件排布图 | opensloar 1 |  | .Replace "{{roof_area}}", "1014.45" | .Replace " | {{roof_area}} | ", " | 1014.45 | "
| opensolar 碳排量 | opensloar 2 |  | .Replace "{{Exchg}}", "8.79" | .Replace " | {{Exchg}} | ", " | 8.79 | "
| 20年曲线 | optionB |  | .Replace "{{Exchg_date}}", "April 2 2006" | .Replace " | {{Exchg_date}} | ", " | April 2 2006 | "
| 5年曲线 | optionC |  | .Replace "{{set}}", "sets" | .Replace " | {{set}} | ", " | sets | "
| 报价清单 | Breakdown
End With
End If
Next shp
Next sld
MsgBox "✅ 所有 {{字段}} 已一次性替换完成！"
End Sub